## Sheet1
category | skill | comments
**EXO calibration** | followed SOP to perform EXO calibration check
waited for readings to stabilize before accepting calibration
adequately rinsed sensors and calibration cup
**Filtering for TSS** | Followed SOP to filter water samples for TSS
Wore gloves
Used pre-muffled filters for TSS
Recorded volume filtered
Rinsed filter with DI water before removing filter from filter funnel
Folded filter in half with filtrate facing in before placing in foil
Labeled foil with name, date, location, filter number, and volume filtered
**Basic water quality measurements** | Followed SOP to use YSI, secchi disk, and LiCOR to measure water quality, secchi depth, and a vertical light profile
Waited for YSI readings to stabilize before recording data
Accurately transcribed YSI, secchi disk, and light data to water quality data sheet
Checked that data values were reasonable before completing measurements
Recorded researcher names, date, and location on water quality data sheet
**Knot tying** | Properly secured boat to dock using a cleat hitch and clove hitch+half hitch
Properly attached buoy to line using lobster buoy hitch and line to anchor using bowline
Properly coiled line